HORIZON 2020

The Framework Programme for Research and Innovation

Project acronym: procuRE

Grant Agreement Number: 963648

Project full title: Pre-commercial Procurement of Breakthrough Solutions for

100% Renewable Energy Supply in Buildings

Call identifier: H2020-LC-SC3-2020-Joint-Actions-1

TD2a – Challenge Brief Annex E

Reference Climate Data Summary

TABLE OF CONTENTS

1	Details about reference climates considered and climatic data	3

LIST OF FIGURES

Figure 1 Nuremberg external air temperature along the year	4

Figure 2 Nuremberg ambient air temperature yearly duration curve	4

Figure 3 Nuremberg total horizontal radiation along the year	5

Figure 4 Nuremberg total horizontal radiation yearly duration curve	5

Figure 5 Istanbul ambient air temperature along the year	6

Figure 6 Istanbul ambient air temperature yearly duration curve	6

Figure 7 Istanbul total horizontal radiation along the year	7

Figure 8 Istanbul total horizontal radiation yearly duration curve	7

LIST OF TABLES

Table 1 Nuremberg relevant climatic data	3

Table 2 Istanbul relevant climatic data	5

# Details about reference climates considered and climatic data

Climatic conditions influence the choices in the building envelope construction and the building thermal demands (space heating and space cooling demand).

Considering that Europe presents quite important differences in terms of climatic conditions, in procuRE project the reference buildings thermal behaviours are evaluated in two different climates to consider the effects of different climatic conditions on buildings having different envelope thermal characteristics. The two climates analysed are:

European continental climate, where the focus is put on space heating demand, and the reference location considered is Nuremberg.

Mediterranean climate, where space cooling is critical, and the reference location considered is Istanbul.

The climatic data of the two reference locations are taken from software Meteonorm version 7.3. The climatic files of the two reference cities represent not a specific but an “average year” and they contain data of one entire year with an hourly timeframe. Although a relevant number of climatic data are included in the climatic data files, the most important, for the scope of the project are the ambient air temperature (or external air temperature), the percentage of relative humidity and the total radiation on a horizontal surface. These three inputs, for the entire year and with an hourly timeframe are summarized in a .csv file for each of the two locations made available in the support material.

In the following, Table 1 reports some useful climatic data taken from the considered meteo file for the city of Nuremberg. As can be noted there is a notably temperature variation along the year (from -12.7°C to 33.4°C) typical of the continental climate. The same table includes also the maximum total horizontal radiation (in W/m2) and the yearly total horizontal radiation (in kWh/m2.y).

Table 1 Nuremberg relevant climatic data

| Quantity | Value | Unit |
| --- | --- | --- |
| Minimum ambient air temperature | -12.7 | °C |
| Maximum ambient air temperature | 33.4 | °C |
| Yearly average ambient air temperature | 9.6 | °C |
| Maximum total horizontal radiation | 994 | W/m2 |
| Yearly total horizontal radiation | 1070 | (kWh/m2)/y |

In addition to the climatic data included in Table 1, for the city of Nuremberg, Figure 1 shows the ambient air temperature hourly trend for the entire year, while Figure 2 represents the ambient air temperature yearly duration curve.

Figure 1 Nuremberg external air temperature along the year

Figure 2 Nuremberg ambient air temperature yearly duration curve

Figure 3 and Figure 4 show instead respectively the total radiation on the horizontal surface for the entire year with an hourly time base and the total horizontal radiation duration curve for the same year for the city of Nuremberg.

Figure 3 Nuremberg total horizontal radiation along the year

Figure 4 Nuremberg total horizontal radiation yearly duration curve

The same information reported above for the European continental climate with reference to the city of Nuremberg are also presented in the following for the city of Istanbul, reference location considered for the Mediterranean climate. As can be noted, in comparison to the European continental climate, the minimum ambient air temperature is notably higher, while instead the differences in the maximum ambient air temperature are limited, hence the ambient air temperature variation along the year is lower (from -3.9°C to 35.3°C). The limited yearly ambient air temperature variation is a characteristic of the Mediterranean climate. Regarding instead Total horizontal radiation, as expected, both maximum total horizontal radiation (in W/m2) and yearly total horizontal radiation (in (kWh/m2)/y) are higher than the values for Nuremberg. In the following, Table 2 summarizes some useful climatic data taken from the considered meteo file for the city of Istanbul.

Table 2 Istanbul relevant climatic data

| Quantity | Value | Unit |
| --- | --- | --- |
| Minimum ambient air temperature | -3.9 | °C |
| Maximum ambient air temperature | 35.3 | °C |
| Yearly average ambient air temperature | 15.3 | °C |
| Maximum total horizontal radiation | 1108 | W/m2 |
| Yearly total horizontal radiation | 1347 | (kWh/m2)/y |

As previously reported for the city of Nuremberg, for the city of Istanbul Figure 5 and Figure 6 show respectively the ambient air temperature hourly trend for the entire year and the ambient air temperature yearly duration curve.

Figure 5 Istanbul ambient air temperature along the year

Figure 6 Istanbul ambient air temperature yearly duration curve

In addition to that, Figure 7 and Figure 8 show respectively the total radiation on the horizontal surface for the entire year with an hourly time base and the total horizontal radiation duration curve for the same year for the city of Istanbul.

Figure 7 Istanbul total horizontal radiation along the year

Figure 8 Istanbul total horizontal radiation yearly duration curve

Meteonorm software: https://meteonorm.com/en/